# PLANNING COMMISSION MEETING

# Thursday, November 21, 2024 6:00 p.m.

# Council Chambers

Pledge to the flag.

Approval of the October 17, 2024 meeting minutes.

Guest identification and reason for attendance.

New Business:

925 Millville Rd.  - Steve Shannon - Land Development

WAIVER REQUESTS:

- SSWO – Section 21-205.2. – Sidewalks and curbs shall be installed along Millville Road (SR 4009) if directed by the Town Council. [reference also SALDO – Section 22-404.D.(1)(a)20)b), SALDO – Section 22-503., SALDO – Section 22-504., SALDO – Section 22-705., and SALDO – Section 22-706.]

- SALDO – Section 22-802.3.J. – The bottom of the proposed SCM 002 stormwater management facility shall have a minimum slope of 1.5%.

The Applicant’s Consultant has requested a waiver to allow for the facility bottom to be level (0% slope). No engineering issues with this request.

Recommendation for conditional Approval with the following conditions being met:

- The ‘Engineers Certification of Construction Within a Floodplain’ statement provided on LD sheet 1 shall be signed and sealed.

- The ‘Surveyor Certificate’, ‘Engineers Certification’ and ‘Certificate of Ownership, statements provided on LD sheet 1 shall be signed, dated and notarized accordingly.

- Fire hydrant must be added within 600’ of the existing and proposed buildings on site, as measured by way of accessible streets.

- Variance must be obtained through Zoning Hearing Board prior to Final Land Development approval.

- Financial security shall be provided for all proposed site improvements. A Developers Agreement must also be signed and notarized.

- A Stormwater Operations & Maintenance Agreement  shall be prepared and executed between the Applicant/Owner and the Town for all existing and proposed drainage and stormwater management facilities on the property.

480 W. Fifth Street – Reiter Automotive – Subdivision

Recommendation for conditional Approval with the following conditions being met:

- The Columbia County Planning Commission review comments must be satisfied.

- All plans shall be signed and sealed by the Plan Preparer. The ‘Certificate of Survey Accuracy’ statement provided on sheet C001 shall also be sealed.

- The ‘Certificate of Ownership and Acknowledgment of Plan’ statement provided on sheet C001 shall be signed by owner and notarized.

- Draft Deeds must be provided for both proposed lots.

- 2025 Meeting/workshop dates and times

Old Business:

NONE

Next review meeting – 	December 12, 2024 at 1:00 p.m.

Next Planning Commission meeting –December 19, 2024 at 6:00 p.m.